Echo Lab GLX instructions

F4-Sensors

F3-microphone

Scroll to sound sensor

Home

F1-Graph

F4-Graphs

Scroll to Scope mode

F3-Tools-Trigger settings

Enable Trigger

Set Trigger level to 10,000

Turn on stop condition

F1-OK

Press Play to take data